## Sheet1
Big Project Good Performance Configuration
Condition or Limitation | Varibales <= 300,000 var Register･Totally:60sec Bit･Alarm:1sec |  |  | HDS <= Log:300,000 var <=Trend:100,000 var Register･Totally:60sec Bit･Alarm:1sec | 5 Clients | Export <= 40,000 var Export File Elapsed time | － | How to check | What's specific configuration | Result | Planning Date | Note
Protocol | BACNET | MODBUS | OPC-UA | HDS(MS-SQL) | WebVue | DataExport | Redundancy
No.1 Case | 226800 | 0 | 0 | 226800 | 0 | 0 | ー | Compare Protocol simulator value and HDS SQL Server record value by any same variables And check no NS-COM at alarmaviewer |  |  | 10/4W
No.2 Case | 226800 | 40000 | 40000 | 306800 | 0 | 0 | ー |  |  |  | 10/4W
No.3 Case | 226800 | 40000 | 40000 | 306800 | 0 | 306800 | ー |  |  |  | 11/2W
No.4 Case | 226800 | 40000 | 40000 | 306800 | 5 | 306800 | ー
No.5 Case | 226800 | 40000 | 40000 | 306800 | 5 | 306800 | Yes