## Slide 1: PcVue Solutions
Canary Labo Architecture Proposal

## Slide 2: Proposed Big Data Architecture
  Distributed Architecture
Enterprise Historian (xxxK Tags)
OPC-UA
OPC-DA
MODBUS
BACNET
SNMP
Legacy
System
UA
DA
LAN/WAN
10 concurrent WebVue
for Web access (HTML5)
And Trend Historian access
WebVue Server 10 access
Legacy
System
UA
DA
LAN/WAN
10 concurrent WebVue
for Web access (HTML5)
And Trend Historian access
WebVue Server 10 access
MS-SQL (xxxK Tags)
RAID10
HUB/Router
HUB/Router
100,000 to 300,000 points 100,000points analog
目安：短期3ヶ月/ 6ヶ月/ 1年～3年？
目安：長期3年～10年？等
Notes: L'architecture mutualisée est une variante intéressante de la haute disponibilité.
Lorsque vous surveillez et contrôlez plusieurs processus, lignes de production, usines, bâtiments, sites ... et pouvez bénéficier d'un réseau WAN fiable, vous pouvez mettre en place un serveur performant qui sera utilisé comme serveur de secours pour plusieurs ilots. En mutualisant le serveur de secours, vous obtenez la redondance et la disponibilité tout en réduisant les coûts de déploiement et de maintenance d'un ensemble de serveurs redondants dans chaque ilot.

## Slide 3: 備考
【CL特記事項】
・AxiomViewソフト画面をPcVueミミックにはめ込み
・AxiomView(Web)ソフト画面をPcVueミミックに埋込み
・AxiomTrendViewer画面からCSV出力可
・外部データ提供は、OPC-HAD、Webサービス、ODBC
・警報はON/OFFのみ保管